## Ajuste 14-15 dec
Voltage Attenuation | ADC measured | Power Measured (dBm)
0.2 | 64 | -75.9 | *(moda) | saturated
0.4 | 96 | -73.8 | * | saturated
0.6 | 143 | -71.8 | * | saturated
0.8 | 192 | -70.2 | * | saturated
1 | 255 | -68.6 |  | saturated
1.2 | 323 | -67.3 |  | normalish
1.4 | 396 | -66.1 |  | normalish
1.5 | 440 | -65.5 | \+(good hist) | normal
1.6 | 474 | -65.1 | \+(good hist) | normal
1.8 | 552 | -64.1 | \+(good hist) | normal
2 | 625 | -63.2 | \+(good hist) | normalish
2.2 | 688 | -62.3 | \+(good hist) | normalish
2.4 | 739 | -61.6 | \+(good hist) | half saturated
2.6 | 784 | -61.1 |  | saturated
2.8 | 820 | -60.4 | cut | saturated
3 | 852 | -59.8 | very skewed | saturated

## Ajuste 8-13 dec
Voltage Attenuation | ADC measured | Power Measured (dBm)
0.2 | 161 | -76.9 | moda | normalish
0.4 | 219 | -74.5 | moda | normal
0.6 | 295 | -72.6 | average | normalish
0.8 | 381 | -70.9 | average | normalish
1 | 483 | -69.4 | average | normal
1.2 | 592 | -68.1 | average | normal
1.4 | 687 | -67 | average | normal
1.5 | 730 | -66.3 | average | normal
1.6 | 766 | -65.8 | average | normalish
1.8 | 822 | -64.8 | average | saturating
2 | 864 | -63.9 | average | saturating/normalish
2.2 | 884 | -63.1 | moda | full saturation
2.4 | 882 | -62.3 | moda | full saturation
2.6 | 880 | -61.6 | moda | full saturation
2.8 | 880 | -60.8 | moda | full saturation
3 | 880 | -60.2 | moda | full saturation

## Total_fix
Voltage Attenuation | ADC old measured | ADC new measured | Old Power Measured (dBm) | New Power Measured (dBm) | Old Power waveguide (dBm) | New Power waveguide (dBm) | ADC new scaled | ADC old scaled | ADC new measurement projection over old
0.2 | 161 | 64 | -76.9 | -75.9 | -28.08 | -27.08 | 118.2431 | 87.1425 | 1828.1523
0.4 | 219 | 96 | -74.5 | -73.8 | -25.68 | -24.98 | 177.3647 | 118.5355 | 1733.502
0.6 | 295 | 143 | -72.6 | -71.8 | -23.78 | -22.98 | 264.1994 | 159.671 | 948.6749
0.8 | 381 | 192 | -70.9 | -70.2 | -22.08 | -21.38 | 354.7293 | 206.2192 | 690.1492
1 | 483 | 255 | -69.4 | -68.6 | -20.58 | -19.78 | 471.1249 | 261.4275 | 141.0189
1.2 | 592 | 323 | -68.1 | -67.3 | -19.28 | -18.48 | 596.7582 | 320.4246 | 22.6401
1.4 | 687 | 396 | -67 | -66.1 | -18.18 | -17.28 | 731.6292 | 371.8441 | 1991.7654
1.5 | 730 | 440 | -66.3 | -65.5 | -17.48 | -16.68 | 812.9213 | 395.1182
1.6 | 766 | 474 | -65.8 | -65.1 | -16.98 | -16.28 | 875.738 | 414.6035
1.8 | 822 | 552 | -64.8 | -64.1 | -15.98 | -15.28 | 1019.8468 | 444.9139
2 | 864 | 625 | -63.9 | -63.2 | -15.08 | -14.38 | 1154.7178 | 467.6467
2.2 | 884 | 688 | -63.1 | -62.3 | -14.28 | -13.48 | 1271.1134 | 478.4719
2.4 | 882 | 739 | -62.3 | -61.6 | -13.48 | -12.78 | 1365.3383 | 477.3894
2.6 | 880 | 784 | -61.6 | -61.1 | -12.78 | -12.28 | 1448.478 | 476.3069
2.8 | 880 | 820 | -60.8 | -60.4 | -11.98 | -11.58 | 1514.9898 | 476.3069
3 | 880 | 852 | -60.2 | -59.8 | -11.38 | -10.98 | 1574.1113 | 476.3069
7355.9028
Gain factor adc | 1.8475
RFL measurements | 48.82