## Ajuste 14-15 dec
Voltage Attenuation | ADC measured | ADC measured (in volts) | Power Measured (dBm)
0.2 | 64 | 0.20645 | -75.9 | *(moda) | saturated
0.4 | 96 | 0.30968 | -73.8 | * | saturated
0.6 | 143 | 0.46129 | -71.8 | * | saturated
0.8 | 192 | 0.61935 | -70.2 | * | saturated
1 | 255 | 0.82258 | -68.6 |  | saturated
1.2 | 323 | 1.0419 | -67.3 |  | normalish
1.4 | 396 | 1.2774 | -66.1 |  | normalish
1.5 | 440 | 1.4194 | -65.5 | \+(good hist) | normal
1.6 | 474 | 1.529 | -65.1 | \+(good hist) | normal
1.8 | 552 | 1.7806 | -64.1 | \+(good hist) | normal
2 | 625 | 2.0161 | -63.2 | \+(good hist) | normalish
2.2 | 688 | 2.2194 | -62.3 | \+(good hist) | normalish
2.4 | 739 | 2.3839 | -61.6 | \+(good hist) | half saturated
2.6 | 784 | 2.529 | -61.1 |  | saturated
2.8 | 820 | 2.6452 | -60.4 | cut | saturated
3 | 852 | 2.7484 | -59.8 | very skewed | saturated

## Ajuste 8-13 dec
Voltage Attenuation | ADC measured | ADC measured (in Volts) | Power Measured (dBm)
0.2 | 161 | 0.51935 | -76.9 | moda | normalish
0.4 | 219 | 0.70645 | -74.5 | moda | normal
0.6 | 295 | 0.95161 | -72.6 | average | normalish
0.8 | 381 | 1.229 | -70.9 | average | normalish
1 | 483 | 1.5581 | -69.4 | average | normal
1.2 | 592 | 1.9097 | -68.1 | average | normal
1.4 | 687 | 2.2161 | -67 | average | normal
1.5 | 730 | 2.3548 | -66.3 | average | normal
1.6 | 766 | 2.471 | -65.8 | average | normalish
1.8 | 822 | 2.6516 | -64.8 | average | saturating
2 | 864 | 2.7871 | -63.9 | average | saturating/normalish
2.2 | 884 | 2.8516 | -63.1 | moda | full saturation
2.4 | 882 | 2.8452 | -62.3 | moda | full saturation
2.6 | 880 | 2.8387 | -61.6 | moda | full saturation
2.8 | 880 | 2.8387 | -60.8 | moda | full saturation
3 | 880 | 2.8387 | -60.2 | moda | full saturation

## Total_fix
Voltage Attenuation | ADC old measured | ADC new measured | Old Power Measured (dBm) | New Power Measured (dBm) | Corrected power Measured (03/03) (dBm) | Old Power waveguide (dBm) | New Power waveguide (dBm) | Corrected power waveguide (03/03) (dBm) | ADC new scaled | ADC old scaled | ADC new in volts | ADC old scaled in Volts | ADC new - old scaled | ADC new measurement projection over old
0.2 | 161 | 64 | -76.9 | -75.9 | -76.8 | -28.08 | -27.08 | -27.98 | 118.2431 | 87.1425 | 0.20645 | 0.2811 | -0.074653 | 1828.1523
0.4 | 219 | 96 | -74.5 | -73.8 | -74.7 | -25.68 | -24.98 | -25.88 | 177.3647 | 118.5355 | 0.30968 | 0.38237 | -0.072695 | 1733.502
0.6 | 295 | 143 | -72.6 | -71.8 | -72.5 | -23.78 | -22.98 | -23.68 | 264.1994 | 159.671 | 0.46129 | 0.51507 | -0.053778 | 948.6749
0.8 | 381 | 192 | -70.9 | -70.2 | -70.9 | -22.08 | -21.38 | -22.08 | 354.7293 | 206.2192 | 0.61935 | 0.66522 | -0.045868 | 690.1492
1 | 483 | 255 | -69.4 | -68.6 | -69.4 | -20.58 | -19.78 | -20.58 | 471.1249 | 261.4275 | 0.82258 | 0.84331 | -0.020734 | 141.0189
1.2 | 592 | 323 | -68.1 | -67.3 | -68 | -19.28 | -18.48 | -19.18 | 596.7582 | 320.4246 | 1.0419 | 1.0336 | 0.0083077 | 22.6401
1.4 | 687 | 396 | -67 | -66.1 | -66.9 | -18.18 | -17.28 | -18.08 | 731.6292 | 371.8441 | 1.2774 | 1.1995 | 0.077922 | 1991.7654
1.5 | 730 | 440 | -66.3 | -65.5 | -66.3 | -17.48 | -16.68 | -17.48 | 812.9213 | 395.1182 | 1.4194 | 1.2746 | 0.14478
1.6 | 766 | 474 | -65.8 | -65.1 | -65.8 | -16.98 | -16.28 | -16.98 | 875.738 | 414.6035 | 1.529 | 1.3374 | 0.1916
1.8 | 822 | 552 | -64.8 | -64.1 | -64.7 | -15.98 | -15.28 | -15.88 | 1019.8468 | 444.9139 | 1.7806 | 1.4352 | 0.34544
2 | 864 | 625 | -63.9 | -63.2 | -63.8 | -15.08 | -14.38 | -14.98 | 1154.7178 | 467.6467 | 2.0161 | 1.5085 | 0.50759
2.2 | 884 | 688 | -63.1 | -62.3 | -63.1 | -14.28 | -13.48 | -14.28 | 1271.1134 | 478.4719 | 2.2194 | 1.5435 | 0.6759
2.4 | 882 | 739 | -62.3 | -61.6 | -62.4 | -13.48 | -12.78 | -13.58 | 1365.3383 | 477.3894 | 2.3839 | 1.54 | 0.84391
2.6 | 880 | 784 | -61.6 | -61.1 | -61.4 | -12.78 | -12.28 | -12.58 | 1448.478 | 476.3069 | 2.529 | 1.5365 | 0.99256
2.8 | 880 | 820 | -60.8 | -60.4 | -60.7 | -11.98 | -11.58 | -11.88 | 1514.9898 | 476.3069 | 2.6452 | 1.5365 | 1.1087
3 | 880 | 852 | -60.2 | -59.8 | -60 | -11.38 | -10.98 | -11.18 | 1574.1113 | 476.3069 | 2.7484 | 1.5365 | 1.2119
7355.9028
Gain factor adc | 1.8475
RFL measurements | 48.82